## Cable Register
Facility Cable Register — DRAFT
Cable Number | From | To | Type | Cores | Route
CAB-001 | DG2 | MSB-1 | 4C XLPE 50mm2 | 3 | Underfloor duct D-2
CAB-002 | MSB-1 | FP-101 | 3C+E SWA 25mm2 | 4 | Cable tray CT-3
CAB-003 | MSB-1 | AHU-3 | Cat6 SFTP | 5 | Riser R-1
CAB-004 | MSB-1 | CWP-01 | 2C Control 1.5mm2 | 2 | Direct buried
CAB-005 | FP-101 | CWP-01 | 4C XLPE 95mm2 | 3 | Cable tray CT-1 -> CT-4
CAB-006 | CWP-01 | AHU-3 | 4C XLPE 50mm2 | 4 | Underfloor duct D-2
CAB-007 | DG1 | DG2 | 3C+E SWA 25mm2 | 5 | Cable tray CT-3
CAB-008 | DG1 | MSB-1 | Cat6 SFTP | 2 | Riser R-1
CAB-009 | DG2 | MSB-1 | 2C Control 1.5mm2 | 3 | Direct buried
CAB-010 | MSB-1 | FP-101 | 4C XLPE 95mm2 | 4 | Cable tray CT-1 -> CT-4
CAB-011 | MSB-1 | AHU-3 | 4C XLPE 50mm2 | 5 | Underfloor duct D-2
CAB-012 | MSB-1 | CWP-01 | 3C+E SWA 25mm2 | 2 | Cable tray CT-3
CAB-013 | FP-101 | CWP-01 | Cat6 SFTP | 3 | Riser R-1
CAB-014 | CWP-01 | AHU-3 | 2C Control 1.5mm2 | 4 | Direct buried
CAB-015 | DG1 | DG2 | 4C XLPE 95mm2 | 5 | Cable tray CT-1 -> CT-4
CAB-016 | DG1 | MSB-1 | 4C XLPE 50mm2 | 2 | Underfloor duct D-2
CAB-017 | DG2 | MSB-1 | 3C+E SWA 25mm2 | 3 | Cable tray CT-3
CAB-018 | MSB-1 | FP-101 | Cat6 SFTP | 4 | Riser R-1
CAB-019 | MSB-1 | AHU-3 | 2C Control 1.5mm2 | 5 | Direct buried
CAB-020 | MSB-1 | CWP-01 | 4C XLPE 95mm2 | 2 | Cable tray CT-1 -> CT-4
CAB-021 | FP-101 | CWP-01 | 4C XLPE 50mm2 | 3 | Underfloor duct D-2
CAB-022 | CWP-01 | AHU-3 | 3C+E SWA 25mm2 | 4 | Cable tray CT-3
CAB-023 | DG1 | DG2 | Cat6 SFTP | 5 | Riser R-1
CAB-024 | DG1 | MSB-1 | 2C Control 1.5mm2 | 2 | Direct buried
CAB-025 | DG2 | MSB-1 | 4C XLPE 95mm2 | 3 | Cable tray CT-1 -> CT-4
CAB-026 | MSB-1 | FP-101 | 4C XLPE 50mm2 | 4 | Underfloor duct D-2
CAB-027 | MSB-1 | AHU-3 | 3C+E SWA 25mm2 | 5 | Cable tray CT-3
CAB-028 | MSB-1 | CWP-01 | Cat6 SFTP | 2 | Riser R-1
CAB-029 | FP-101 | CWP-01 | 2C Control 1.5mm2 | 3 | Direct buried
CAB-030 | CWP-01 | AHU-3 | 4C XLPE 95mm2 | 4 | Cable tray CT-1 -> CT-4
CAB-031 | DG1 | DG2 | 4C XLPE 50mm2 | 5 | Underfloor duct D-2
CAB-032 | DG1 | MSB-1 | 3C+E SWA 25mm2 | 2 | Cable tray CT-3
CAB-033 | DG2 | MSB-1 | Cat6 SFTP | 3 | Riser R-1
CAB-034 | MSB-1 | FP-101 | 2C Control 1.5mm2 | 4 | Direct buried
CAB-035 | MSB-1 | AHU-3 | 4C XLPE 95mm2 | 5 | Cable tray CT-1 -> CT-4
CAB-036 | MSB-1 | CWP-01 | 4C XLPE 50mm2 | 2 | Underfloor duct D-2
CAB-037 | FP-101 | CWP-01 | 3C+E SWA 25mm2 | 3 | Cable tray CT-3
CAB-038 | CWP-01 | AHU-3 | Cat6 SFTP | 4 | Riser R-1
CAB-039 | DG1 | DG2 | 2C Control 1.5mm2 | 5 | Direct buried
CAB-040 | DG1 | MSB-1 | 4C XLPE 95mm2 | 2 | Cable tray CT-1 -> CT-4
CAB-041 | DG2 | MSB-1 | 4C XLPE 50mm2 | 3 | Underfloor duct D-2
CAB-042 | MSB-1 | FP-101 | 3C+E SWA 25mm2 | 4 | Cable tray CT-3
CAB-043 | MSB-1 | AHU-3 | Cat6 SFTP | 5 | Riser R-1
CAB-044 | MSB-1 | CWP-01 | 2C Control 1.5mm2 | 2 | Direct buried
CAB-045 | FP-101 | CWP-01 | 4C XLPE 95mm2 | 3 | Cable tray CT-1 -> CT-4
CAB-046 | CWP-01 | AHU-3 | 4C XLPE 50mm2 | 4 | Underfloor duct D-2
CAB-047 | DG1 | DG2 | 3C+E SWA 25mm2 | 5 | Cable tray CT-3
CAB-048 | DG1 | MSB-1 | Cat6 SFTP | 2 | Riser R-1
CAB-049 | DG2 | MSB-1 | 2C Control 1.5mm2 | 3 | Direct buried
CAB-050 | MSB-1 | FP-101 | 4C XLPE 95mm2 | 4 | Cable tray CT-1 -> CT-4
CAB-051 | MSB-1 | AHU-3 | 4C XLPE 50mm2 | 5 | Underfloor duct D-2
CAB-052 | MSB-1 | CWP-01 | 3C+E SWA 25mm2 | 2 | Cable tray CT-3
CAB-053 | FP-101 | CWP-01 | Cat6 SFTP | 3 | Riser R-1
CAB-054 | CWP-01 | AHU-3 | 2C Control 1.5mm2 | 4 | Direct buried
CAB-055 | DG1 | DG2 | 4C XLPE 95mm2 | 5 | Cable tray CT-1 -> CT-4
CAB-056 | DG1 | MSB-1 | 4C XLPE 50mm2 | 2 | Underfloor duct D-2
CAB-057 | DG2 | MSB-1 | 3C+E SWA 25mm2 | 3 | Cable tray CT-3
CAB-058 | MSB-1 | FP-101 | Cat6 SFTP | 4 | Riser R-1
CAB-059 | MSB-1 | AHU-3 | 2C Control 1.5mm2 | 5 | Direct buried
CAB-060 | MSB-1 | CWP-01 | 4C XLPE 95mm2 | 2 | Cable tray CT-1 -> CT-4
CAB-061 | FP-101 | CWP-01 | 4C XLPE 50mm2 | 3 | Underfloor duct D-2
CAB-062 | CWP-01 | AHU-3 | 3C+E SWA 25mm2 | 4 | Cable tray CT-3
CAB-063 | DG1 | DG2 | Cat6 SFTP | 5 | Riser R-1
CAB-064 | DG1 | MSB-1 | 2C Control 1.5mm2 | 2 | Direct buried
CAB-065 | DG2 | MSB-1 | 4C XLPE 95mm2 | 3 | Cable tray CT-1 -> CT-4
CAB-066 | MSB-1 | FP-101 | 4C XLPE 50mm2 | 4 | Underfloor duct D-2
CAB-067 | MSB-1 | AHU-3 | 3C+E SWA 25mm2 | 5 | Cable tray CT-3
CAB-068 | MSB-1 | CWP-01 | Cat6 SFTP | 2 | Riser R-1
CAB-069 | FP-101 | CWP-01 | 2C Control 1.5mm2 | 3 | Direct buried
CAB-070 | CWP-01 | AHU-3 | 4C XLPE 95mm2 | 4 | Cable tray CT-1 -> CT-4
CAB-071 | DG1 | DG2 | 4C XLPE 50mm2 | 5 | Underfloor duct D-2
CAB-072 | DG1 | MSB-1 | 3C+E SWA 25mm2 | 2 | Cable tray CT-3
CAB-073 | DG2 | MSB-1 | Cat6 SFTP | 3 | Riser R-1
CAB-074 | MSB-1 | FP-101 | 2C Control 1.5mm2 | 4 | Direct buried
CAB-075 | MSB-1 | AHU-3 | 4C XLPE 95mm2 | 5 | Cable tray CT-1 -> CT-4
CAB-076 | MSB-1 | CWP-01 | 4C XLPE 50mm2 | 2 | Underfloor duct D-2
CAB-077 | FP-101 | CWP-01 | 3C+E SWA 25mm2 | 3 | Cable tray CT-3
CAB-078 | CWP-01 | AHU-3 | Cat6 SFTP | 4 | Riser R-1
CAB-079 | DG1 | DG2 | 2C Control 1.5mm2 | 5 | Direct buried
CAB-080 | DG1 | MSB-1 | 4C XLPE 95mm2 | 2 | Cable tray CT-1 -> CT-4

## Notes (ignore)
misc notes -- do not use for extraction
check spare drum lengths with the stores office
some stray value
TBD